## Slide 1
Representation in respect of The Draft Fanling/Sheung Shui Extension Area OZP No. S/FSSE/1
Old•New•Eden
O.N.E. living heritage
June 2023

## Slide 2
DRAINAGE
O.N.E. living heritage

## Slide 3
CHANGING IMPERMEABLE to PAVED
O.N.E. living heritage
Existing
Proposed development
TOTAL RUNOFF
TOTAL RUNOFF
+
+
18% Paved + 82% impermeable
70% Paved + 30% impermeable

## Slide 4
EXISTING SURFACE RUNOFF
O.N.E. living heritage

## Slide 5
CHANGING NATURAL to PAVED SURFACES
O.N.E. living heritage
Chart: Time
Development runoff | 0 | 0.11 | 0.44 | 0.78 | 1.18 | 1.73 | 1.95 | 1.81 | 1.42 | 0.99 | 0.66 | 0.36 | 0.27 | 0.19 | 0.11 | 0.1 | 0.09 | 0.06 | 0.05 | 0.04 | 0.03 | 0.02 | 0.01
Existing runoff | 0 | 0.03 | 0.065 | 0.147 | 0.233 | 0.34 | 0.43 | 0.51 | 0.58 | 0.66 | 0.7 | 0.72 | 0.7 | 0.67 | 0.6 | 0.49 | 0.415 | 0.34 | 0.243 | 0.18 | 0.152 | 0.14 | 0.126 | 0.111 | 0.09
Maximum permissible | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72

## Slide 6
PING KONG VILLAGE
O.N.E. living heritage
Road Level 12.8m PD

## Slide 7
CAPTURING AND KEEPING STORMWATER SAFELY UNDERGROUND
O.N.E. living heritage
SSRDC and NDRC in raising objections to the draft OZP (§ 3.2 of the TPB paper) raised potential adverse drainage as one of their 4 main concerns
72-yo Lee Yiu-jo drowned in his Ying Pun village home while rescuers were stuck in traffic
(22 July 2022)

## Slide 8
DESIGNING FOR STORMWATER RUNOFF – IDF CURVES
O.N.E. living heritage
4-Hour storm adopted in EIA
30-minute storm critical for local impacts
30% greening required by DevB TC 3/2012
??? Indicated on layout plans
Site currently 82% green

## Slide 9
DRAINAGE CONCLUSIONS
O.N.E. living heritage
The drainage condition in Sub Area 1 (2,3,4, and surrounding 500m area cannot be preserved. S2.6 of the TPB paper refers.
The DIA has adopted an inappropriate design storm
The DIA has undersized the stormwater drains in the vicinity
The DIA has failed to describe “blue-green” mitigation measures.
The development will cause an increased risk of overland flow both in terms of depth and velocity – this presents increased economic consequences and risk to life.